## Slide 1
Andreas Hoecker (CERN)
57. Herbstschule HEP
1–11 September 2026, Bad Honnef, Germany
Experimental Physics at the LHC (2)

## Slide 2
Today’s lecture:
Particle detection at the LHC
Data reconstruction and analysis
Next lectures:
Selected physics topics
Upgrade to the High-Luminosity LHC
New physics opportunities

## Slide 3
Presentation
CMS
ATLAS
LHCb
ALICE
ATLAS
ALICE
CMS
LHCb
LHC
SPS
PS
LHC Experiments
Areal view

## Slide 4
Presentation
CMS
ATLAS
LHCb
ALICE
LHC
SPS
Areal view
NA62, NA64, SHiP (BDF)
FASER
SND
ANUBIS
FACET / PREFACE ?
MATHUSLA ?
MilliQan
MoEDAL / MoEDAL-MAPP-1/2 ?
CODEX-b/β ?
SHIFT
(gaseous target)
FPF ?
LHC Experiments

## Slide 5
Presentation
CMS
ATLAS
LHCb
ALICE
LHC
SPS
Areal view
NA62, NA64, SHiP (BDF)
FASER
SND
ANUBIS
FACET / PREFACE ?
MATHUSLA ?
MilliQan
MoEDAL / MoEDAL-MAPP-1/2 ?
CODEX-b/β ?
SHIFT
(gaseous target)
FPF ?
LHC Experiments
FASER
SND@LHC
arXiv:2412.03186

## Slide 6
Presentation
CMS
ATLAS
LHCb
ALICE
SPS
Areal view
NA62, NA64, SHiP (BDF)
FASER
SND
ANUBIS
FACET / PREFACE ?
MATHUSLA ?
MilliQan
MoEDAL / MoEDAL-MAPP-1/2 ?
CODEX-b/β ?
SHIFT
(gaseous target)
FPF ?
LHC Experiments
NA62
Rare kaon decay experiment

## Slide 7
Particle detector basics
Requirements (up to 40 MHz bunch crossing rate, 64 pileup collisions — 2.5 × original design!)
Radiation hard inner tracker (silicon with large S/B) and forward calorimeters
High-granular, low-material () tracker*
High-resolution tracking and vertexing close to collision point (b/c-hadrons, τ-lepton have lifetimes: O(1.5), O(0.5), 0.3 ps → decay lengths (β𝛾cτ = (p/m)cτ) of 1.7, 1.5, 1.0 mm at p = 20 GeV)
High-granularity, linear, uniform, low-noise, dense calorimeters
High-acceptance muon tagging
Slice showing CMS sub-detectors and how particles interact with them
*Radiation length X0 : mean distance a high-E electron travels before losing 1/e of its energy by bremsstrahlung
Polar angle θ [degrees]
Relative particle density

## Slide 8
Particle detector basics
Radiation hard inner tracker (silicon with large S/B) and forward calorimeters
High-granular, low-material () tracker*
High-resolution tracking and vertexing close to collision point (b/c-hadrons, τ-lepton have lifetimes: O(1.5), O(0.5), 0.3 ps → decay lengths (β𝛾cτ = (p/m)cτ) of 1.7, 1.5, 1.0 mm at p = 20 GeV)
High-granularity, linear, uniform, low-noise, dense calorimeters
High-acceptance muon tagging
*Radiation length X0 : mean distance a high-E electron travels before losing 1/e of its energy by bremsstrahlung
Polar angle θ [degrees]
Relative particle density
Material leads to multiple scattering, nuclear interactions, bremsstrahlung, photon conversion
Requirements (up to 40 MHz bunch crossing rate, 64 pileup collisions — 2.5 × original design!)

## Slide 9
Particle detector basics — Solenoid magnets
Solenoid
(4.5 cm thick)
Solenoid
Had Cal
B-field inhomogeneities
Flux return
Flux return
Had Cal
EM Cal
EM Cal
Beam axis
Active tracker area
Superconducting solenoid magnets: homogenous B field simplifies tracking

## Slide 10
Particle detector basics — Solenoid magnets
3.8T field map
Flux return
Flux return
0
6.3 m
–6.3 m
3.0 m
–3.0 m
Active tracker area
Solenoid
Solenoid (31 cm thick)
0
Beam axis
Superconducting solenoid magnets: homogenous B field simplifies tracking

## Slide 11
Particle detector basics — Solenoid magnets
Superconducting solenoid magnets — stored energies
Insertion of ATLAS and CMS solenoids
For homogeneous cylindrical solenoid:
38 MJ for ATLAS (B = 2 T, I = 7.7 kA, V ~ 24 m3)
Extra-thin magnet (before calorimeter, 0.66 X0), single winding, weight : 5.5 tons
2’400 MJ for CMS (B = 3.8 T, I = 18.2 kA, V ~ 353 m3)
Thicker, stabilised magnet, four windings (3.9 X0), weight: 220 tons (40 × ATLAS solenoid)
The 3.5 times larger magnetic pressure per unit volume in CMS requires substantial mechanical reinforcement: the magnetic field is effectively trying to expand the coil
is the vacuum permeability
Energy density

## Slide 12
Particle detector basics — Charged particle measurement
O(300
m)
n+ type
n type bulk
p+ type
+
Holes
Electrons
Charged particle
Reverse bias (Vbias < 500 V)
Full depletion when Vbias > Vdep (depletion voltage)
Tracking (inner tracker & muon system, exploiting ionization signal)
  High Si density and low e–hole creation energy (3.6 eV vs ~36 eV in gas) enable thin detectors with sufficient signal
  High mobility of charge carriers in Si allows fast charge collection (~5 ns for e–)
  Leakage current (Ileak) from thermally generated carriers suppressed by cooling
Depleted Si: electric field separates and collects e–hole pairs (Qcol)
p+-in-n type
(HL-LHC: n+-in-p type)

## Slide 13
Particle detector basics — Charged particle measurement
O(300
m)
n+ type
n type bulk
p+ type
+
Charged particle
Reverse bias (Vbias < 500 V)
Full depletion when Vbias > Vdep (depletion voltage)
Tracking (inner tracker & muon system, exploiting ionization signal)
  High Si density and low e–hole creation energy (3.6 eV vs ~36 eV in gas) enable thin detectors with sufficient signal
  High mobility of charge carriers in Si allows fast charge collection (~5 ns for e–)
  Leakage current (Ileak) from thermally generated carriers suppressed by cooling
Depleted Si: electric field separates and collects e–hole pairs (Qcol)
After irradiation
(effective doping changes)
(carrier trapping)
Vdep ↑
Qcol ↓
Ileak ↑
(thermal carrier generation at radiation defects)
!
Bias recovery is limited by leakage current power (P = Ileak · Vbias), which can cause thermal runaway*
*Thermal runaway: sensor heating increases leakage current and power dissipation, causing still more heating unless sufficient cooling stabilises the system
p+-in-n type
(HL-LHC: n+-in-p type)
Holes
Electrons

## Slide 14
Particle detector basics — Charged particle measurement
O(300
m)
n+ type
n type bulk
p+ type
+
Charged particle
Reverse bias (Vbias < 500 V)
Full depletion when Vbias > Vdep (depletion voltage)
Tracking (inner tracker & muon system, exploiting ionization signal)
  High Si density and low e–hole creation energy (3.6 eV vs ~36 eV in gas) enable thin detectors with sufficient signal
  High mobility of charge carriers in Si allows fast charge collection (~5 ns for e–)
  Leakage current (Ileak) from thermally generated carriers suppressed by cooling
Depleted Si: electric field separates and collects e–hole pairs (Qcol)
Example: ATLAS silicon pixel module (16 FE chips, 2880 channels / chip) (“hybrid” technology: separate FE chips and sensor bump-bonded together)
p+-in-n type
(HL-LHC: n+-in-p type)
Holes
Electrons

## Slide 15
Particle detector basics — Charged particle measurement
O(300
m)
n+ type
n type bulk
p+ type
+
–
Holes
Conduction electrons
Charged particle
Reverse bias (Vbias < 500 V)
Full depletion when Vbias > Vdep (depletion voltage)
Tracking (inner tracker & muon system, exploiting ionization signal)
  High Si density and low e–hole creation energy (3.6 eV vs ~36 eV in gas) enable thin detectors with sufficient signal
  High mobility of charge carriers in Si allows fast charge collection (~5 ns for e–)
  Leakage current (Ileak) from thermally generated carriers suppressed by cooling
Depleted Si: electric field separates and collects e–hole pairs (Qcol)
Example: ATLAS silicon pixel module (16 FE chips, 2880 channels / chip) (“hybrid” technology: separate FE chips and sensor bump-bonded together)
Readout ASIC combines an analog front-end (charge-sensitive preamplifier, feedback, discriminator, threshold tuning and calibration injection) that converts the tiny sensor charge into a digital hit signal, followed by digital logic for TOT digitization, time stamping, buffering, triggering and data readout [link to figure, RD53 chip]

## Slide 16
Particle detector basics — Charged particle measurement
O(300
m)
n+ type
n type bulk
p+ type
+
Charged particle
Reverse bias (Vbias < 500 V)
Full depletion when Vbias > Vdep (depletion voltage)
Tracking (inner tracker & muon system, exploiting ionization signal)
  High Si density and low e–hole creation energy (3.6 eV vs ~36 eV in gas) enable thin detectors with sufficient signal
  High mobility of charge carriers in Si allows fast charge collection (~5 ns for e–)
  Leakage current (Ileak) from thermally generated carriers suppressed by cooling
Depleted Si: electric field separates and collects e–hole pairs (Qcol)
Example: simulated muon in MDTs
Alignment needs to be better than 35 m
Charged particle
Cathode (HV–)
Noble Gas
Ionised electrons drift to wire
Ions drift to cathode
rdrift
Drift circle
Anode wire (HV+)
p+-in-n type
(HL-LHC: n+-in-p type)
Holes
Electrons

## Slide 17
Particle detector basics — Charged particle measurement
Momentum reconstruction of a charged track in a magnetic field (B)
Multiple scattering term (central tracks, β = 1)
L
s
r
r
Si clusters / drift circles
track fit
Obtain r and pT from measurement of sagitta:
(if ) ➠
Momentum resolution:
Track fitting in LHC environment is very challenging
Several thousand tracks per proton-bunch collision, up to 20k tracks for a central PbPb collision
Must handle ambiguities, hit overlaps, multiple scattering, bremsstrahlung, multiple vertices, …
Track fitters take Gaussian noise (e.g., Kalman filter) and non-Gaussian noise (e.g., Gaussian sum filter) into account
Fitter must be fast, used in high-level trigger

## Slide 18
Installation of ATLAS Insertable B-layer on 15 May 2014

## Slide 19
LHCb’s VELO (Vertex Locator) Detector
Closest active pixel edge: 5.1 mm from beam axis
RF box/foil separating the detector and beam vacua: ~3.5 mm from beam

## Slide 20
Particle detector basics — EM Calorimeters
Calorimeters (high-energy particle incident on absorber initiates EM cascades and, if hadron, nuclear interactions)
EM: bremsstrahlung and pair production generate lower energy electrons and photons, transverse size given by Molière radius:
~ 22 X0
~ 2 X0
Calorimeters aim at large X/X0 ~ (20 – 30)
X0(Pb, PbWO4) ≈ 5.6, 8.9 mm
CMS: PbWO4 scintillation crystal calorimeter
Entire shower in active detector material, no particles lost in passive absorber, high granularity and resolution, light yield sensitive to radiation
No longitudinal segmentation
ATLAS: LAr sampling calorimeter (cryogenic T at 87 K)
Passive Pb absorber (1.1–1.5 mm thick [barrel]) inter-leaved with active detector material (liquid argon), high granularity, linearity, uniformity, radiation hard, medium resolution
Longitudinal segmentation (3 layers)
MeV

## Slide 21
Particle detector basics — EM Calorimeters
A calorimeter converts a particle shower into a signal proportional to energy. Since the number of shower particles , counting fluctuations give .
Sampling calorimeter
Only the active layers record energy; thinner absorber layers and a larger active fraction reduce the stochastic term
Stochastic term
a/√E
Shower and sampling fluctuations
Dominates at intermediate energy
Constant term
b
Calibration, non-uniformity and leakage
Dominates at high energy
Noise term
c/E
Electronics and pileup noise
Dominates at low energy
Representative EM performance:
ATLAS Pb/LAr sampling: 10~12% / √E ⊕ 0.2–0.35%
CMS PbWO4 crystals: 3~5.5% / √E ⊕ 0.5%
Takeaway: precision improves as until calibration, uniformity and leakage set a constant-term floor

## Slide 22
Particle detector basics — Hadron Calorimeters
Where the incident energy goes
EM component (~50%): π⁰, η → γγ; average fraction grows with energy
Visible non-EM (~25%): ionisation and excitation by charged hadrons
Invisible (~25%): nuclear breakup and binding energy; slow neutrons
Escaped (~2%): neutrinos and particles leaving the instrumented volume
Sketch of ATLAS Tile Hadronic Calorimeter (steel / scintillator, three radial layers — CMS 1 layer)
ATLAS / CMS
λ = 9.7–13.0 / 7.2–11.0
3 / 1 sampling layers (barrel)
Pions: stochastic: ~55 / 70%, constant: 2.3 / 8.0%, noise: small
Significant improvement in CMS through particle flow (less so for ATLAS)
Larger fluctuations and invisible energy causes worse energy resolution for HAD showers
HAD: Hadronic calorimeters need to fully absorb hadronic showers (initiated by interaction with nuclei)
Nuclear interaction length λ: mean free path of hadrons between strong collisions (λ > X[X0] ® HAD showers are later than EM ones, eg, λFe/brass ~ 17 cm, need λ > 10)

## Slide 23
A complete ATLAS tile calorimeter module covering 1/64 of the full azimuth

## Slide 24
Transverse slice of the CMS detector

## Slide 25
The data path in a nut-shell
LHC Detector
Trigger & Online monitoring
L1 (HW, up to 100 kHz) + HLT (SW, ~3 kHz)
Challenge: low-threshold triggers to keep physics efficiency high, use combined / topological signature information
Distributed computing
Production of standardised derived datasets for physics and performance analysis
Also: MC production — O(100 billion) 13 TeV events produced per experiment
Performance analysis provides standard physics objects with calibrations and uncertainties, unified in analysis release
Physics analyses build upon this groundwork
Physics analysis
Large Hadron Collider
25 ns bunch distance
Lmax ~ 2.2 ×1034 cm–2 s–1
Calibration & Reconstruction
48h calibration & data quality processing, then prompt reconstruction of data in Tier-0

## Slide 26
Particle detector basics — Online event filter
Trigger: ~ 1 / 10’000 events kept, necessarily cutting into physics, mostly driven by Level-1 (~100 kHz, driven by readout time)
(Digitiser)
Register
…
Register
2. Signals
(every 25 ns)
3. L1 trigger
(every 25 ns)
1. BC clock
(every 25 ns)
Readout
Register
…
Register
DERANDOMISER
Dead-time (1)
[ depends on size of readout frame ]
4 BC dead-time upon L1Accept
Dead-time = 100 kHz × 4 × 25 ns = 1%
Accept
Reject
FE PIPELINE MEMORY (Length (~ 100 BC) matches L1 latency of ~2.5 μs)
“Simple deadtime”
(prevent overlapping readout time-frames for some FE systems)
“Complex deadtime”
(prevent derandomisers of some FE systems to overflow)
Dead-time (2)
[ depends on size of derandomiser and drain speed ]
Require dead-time
< 1% at 75 kHz
(< 6% at 100 kHz)
(buffer memory placed right after FE pipeline and before readout links, converts random time arrival into steady rate determined by bandwidth — “leaky bucket” algorithm )
L1 trigger must deliver a decision every BC, despite a latency much longer than the BC period. Achieved by pipelining: the processing is split into steps, each done within one BC, with parallel logic handling different operations. The fixed latency is set by the number of steps plus data transfer times. Input data are fanned out to several processing elements, with data volume decreasing down the pipeline.

## Slide 27
Particle detector basics — Online event filter
Trigger: ~ 1 / 10’000 events kept, necessarily cutting into physics, mostly driven by Level-1 (~100 kHz, driven by readout time)
(Digitiser)
Register
…
Register
2. Signals
(every 25 ns)
Readout
Register
…
Register
DERANDOMISER
Dead-time (1)
[ depends on size of readout frame ]
4 BC dead-time upon L1Accept
Dead-time = 100 kHz × 4 × 25 ns = 1%
Accept
Reject
“Simple deadtime”
(prevent overlapping readout time-frames for some FE systems)
“Complex deadtime”
(prevent derandomisers of some FE systems to overflow)
Dead-time (2)
[ depends on size of derandomiser and drain speed ]
Require dead-time
< 1% at 75 kHz
(< 6% at 100 kHz)
(buffer memory placed right after FE pipeline and before readout links, converts random time arrival into steady rate determined by bandwidth — “leaky bucket” algorithm )
L1 trigger must deliver a decision every BC, despite a latency much longer than the BC period. Achieved by pipelining: the processing is split into steps, each done within one BC, with parallel logic handling different operations. The fixed latency is set by the number of steps plus data transfer times. Input data are fanned out to several processing elements, with data volume decreasing down the pipeline.
Move towards more and more powerful global FPGA-based triggers and deeper pipelines, need to watch the latency of the algorithms!

## Slide 28
Monte Carlo simulation is key for analysis
Simulation chain:
Event generation
Detector simulation
Digitization
Reconstruction
Particle transport and interactions in material — Geant4 (slow) and fast simulation
Same algorithms as data → tracks, clusters, jets, leptons, missing pT
Signals, electronics, noise, detector conditions, pileup overlay
Hard process, parton shower, hadronization, underlying event
Event generation (defining the MC truth record)
proton
proton
Sketch of proton–proton scattering in LHC [Link]
Hard scattering
Parton shower
Hadronization
Underlying event
Hard process: PDFs ⊗ matrix elements describe the short-distance scattering
QCD radiation: parton shower plus matching / merging with matrix-element jets
Soft activity: multiple-parton interactions and underlying event
Hadronization: formation of hadrons followed by unstable-particle decays
Generator modelling is often a leading systematic uncertainty
MC is not a single prediction: alternative generators, scales, PDFs, and tunes used to quantify modelling uncertainties

## Slide 29
pp → ttH(→ bb) candidate event [link]
Particle (object) reconstruction, identification, and calibration

## Slide 30
Precision objects enable precision measurements — Vertexing
Tracks can be fitted to common vertices (constrained fit taking into account measurement uncertainties)
The hard-scatter primary vertex identifies the pp collision of interest among pileup interactions ()
Displaced secondary and tertiary vertices reveal decays of long-lived b- and c-hadrons or tau-leptons
Photon conversions and hadronic interactions create material vertices, identified from their topology and location in the detector
Primary vertex of hard scatter
Pileup vertices
Secondary vertices
LHC beamspot width in Run 3 (pp) at start of run (Gaussian profile):
σx/y ≈ 9 μm
σz ≈ 4 cm

## Slide 31
Precision objects enable precision measurements — Electron / 𝛾
arXiv:2308.07216, arXiv:2308.04775, arXiv:2309.05471
Electron: isolated track matched to EM shower, energy measurement in EM calorimeter more accurate, calibrated in-situ with Z, ϒ, J/𝜓 ® ee (“tag & probe”), and E/p. Note: large bremsstrahlung losses , in inner detector at , corrected in tracking
Photon: no track, isolated EM shower, calibrated with Z → ee(𝛾), π0 / η → 𝛾𝛾 (low energy). Note: large conversion rate: mean free path: at
Detailed photon energy calibration enables precise Higgs mass measurement with H → 𝛾𝛾 (0.09%)
arXiv:2309.05471

## Slide 32
Precision objects enable precision measurements — Muon
Detailed muon momentum calibration (and much more!) enables precise W mass measurement (10 MeV (0.012%) precision, also find agreement with LEP Z mass within 4.8 MeV precision)
arXiv:2412.13872
ημ
Muon: isolated track in inner detector and muon system, combined momentum reconstruction (despite MIP, looses ~3–5 GeV in calorimeter through ), calibrated with Z, ϒ, J/𝜓 ® μμ, requires accurate detector alignment

## Slide 33
Precision objects enable precision measurements — Jet
A Jet is an experimentally defined, collimated spray of hadrons initiated by an energetic quark or gluon
QCD radiation builds the shower; colour confinement turns it into hadrons; a jet algorithm makes it measurable
1. Hard process
2. Parton shower
3. Hadronisation
4. Jet clustering
q / g
q→qg, g→gg, g→qq̄
Q0 ~ ΛQCD
A coloured parton is produced at a hard scale Q
Repeated emissions evolve from Q down to Q0 ≈ 1 GeV
Confinement converts partons into colour-singlet hadrons
Anti-kₜ clusters particles in η – φ:
(typically R = 0.4)
For infrared- and collinear-safe jet algorithms, unresolved real emissions do not change the jet; their divergences cancel against virtual corrections. Repeated emissions generate Sudakov suppression
Soft–collinear enhancement of gluon emission
Why the measured cross section remains finite
Jets are not fundamental particles: they are IRC-safe, algorithm-dependent representations of a hadronic final state
soft gluon:
collinear gluon:
R

## Slide 34
Precision objects enable precision measurements — Jet
Jet energy scale (JES) is calibrated to “particle level” using di-/multi-jet, 𝛾 + jet, Z + jet, 𝜏 → 𝜋𝜈 , t → W → qq events
New JES calibration method using calorimeter response to single particles (test-beam, E/p from 𝜏→𝜋𝜈), combined with pT balance techniques for the most precise JES to date
Total JES uncertainty of 3.8 / 0.3 / 0.6% at 20 / 300 / 4000 GeV
(uncertainty at low pT dominated by pileup)
Eur. Phys. J. C 85 (2025) 927

## Slide 35
Precision objects enable precision measurements — Jet
Jet energy scale (JES) is calibrated to “particle level” using di-/multi-jet, 𝛾 + jet, Z + jet, 𝜏 → 𝜋𝜈 , t → W → qq events
arXiv:2402.08713
Precise jet energy calibration using in-situ processes enables, among others, high-precision top mass measurement (0.2%)
Pileup: mitigated / corrected through vertex association of tracks, area-based subtractions using soft event activity, particle flow candidate weight based on local activity and vertex (PUPPI, CMS)
~100 pileup pp interactions in CMS detector

## Slide 36
Lorentz boost and jet substructure
Opening angle ,
At pT ≫ m, the hadronic decay products of W, Z, H and top become collimated and may merge into one reconstructed jet
Two-body, symmetric decay; pT ≫ m
Resolved
3 small-R jets
Boosted
1 large-R jet with 3-prong substructure
When do standard R = 0.4 jets merge?
W/Z
≈ 400–450 GeV
2 prongs
H
≈ 630 GeV
2 prongs + flavour
top
≈ 870 GeV
3 prongs + b
Rule of thumb: exact containment depends on decay kinematics, radiation and the jet algorithm
Boosted-object reconstruction converts lost angular separation into measurable internal jet structure
Capture
Cluster all decay products with a large radius, typically R = 1.0
Groom
Remove pileup and soft wide-angle radiation, stabilise the jet mass
Resolve prongs
Use jet mass, 2-/3-prong structure and b-tagged subjets
From a ‘fat’ jet to a physics object
Modern low-level taggers learn these patterns directly from tracks and calorimeter/particle-flow constituents

## Slide 37
Jet + Higgs (→ bb) candidate event [reference]
Boosted hadronic ttbar candidate event [reference]

## Slide 38
Particle flow: a jet typically deposits ~65% of its visible energy via charged hadrons, 25% photons (mainly π0), 10% neutral hadrons (n, KL, …)
Measured about 1/3 in ECAL and 2/3 in the HCAL (poorer resolution, limiting jet energy resolution)
Idea: replace energy of individual charged hadrons by track momenta (energy flow), so that ideally only 10% of energy stems from HCAL, leading to improved jet energy resolution for Ejet ≲ 150 GeV
Generalisation to “particle flow” with aim to reconstruct individual particles not just energy deposits (ALEPH, ILC, CMS, ATLAS, FCC, …)
Many ideas for end-to-end particle flow involving machine learning
Particle flow: measure each particle with the best detector
Particle flow solves the inverse problem of detector simulation → particles [link to figure]
Idealised examples of particle flow algorithm handling different cases
arXiv:1703.10485

## Slide 39
Particle flow: measure each particle with the best detector
Next-generation energy-frontier detectors are designed around particle flow (here: CLIC detector design (CLICdet), silicon–tungsten ECAL & steel–scintillator HCAL)

## Slide 40
Tau: → e/μ + 𝜈𝜈 (35%), → π/K + 𝜈 (11.5%), π/K+π0 + 𝜈 (26%), …, isolated hadrons reconstructed in tracker and calorimeter (narrow cones) using particle flow and ML, calibrated with Z → 𝜏𝜏
b/c quarks: “tagged” through decay into b/c hadron, jet with massive secondary (b → c tertiary) vertex, non-isolated soft lepton(s), combined through ML, calibrated with jets containing muons, ttbar events
Flavour reconstruction / tagging — eldorado for modern ML
1. Jet features are copied for each track associated with the jet
2. Combined GNN feature vectors are fed into a per-track initialisation network
3. A Transformer (attention network) followed by a network produce track representations that incorporate information from other tracks inside the jet
4. Jet representation and output track embeddings are inputs to three task-specific networks
Illustration of ALTAS GN2 flavour tagging algorithm [arXiv:2505.19689]
Jet/track features → Per-track embeddings → Transformer builds context across tracks → 3 heads deliver (i) jet flavour, (ii) track origins, and (iii) explicit displaced-vertex structure
𝜏

## Slide 41
Flavour reconstruction / tagging — eldorado for modern ML
Public plots, arXiv:2505.19689
A new kid in town
Strongest constraint to date
arXiv:2509.22535
Impressive flavour tagging and further ML based performance and analysis improvements enhance physics reach
CMS ttH(cc/bb) analysis used ParticleNet for jet flavour identification and ParticleTransformer for event classification

## Slide 42
Flavour reconstruction / tagging — eldorado for modern ML
Public plots, arXiv:2505.19689
Impressive flavour tagging and further ML based performance and analysis improvements enhance physics reach
Scaling behaviour of transformers — how far can it go?
Expect further gains as training data and model sizes increase
ATL-SOFT-PUB-2026-002
Large language models (LLMs) have demonstrated that scaling, driven by compute, can yield dramatic improvements in performance, with current state-of-the-art systems reaching up to one trillion parameters. In contrast, state-of-the-art jet flavour classifiers in HEP remain in the tens of millions of parameters. Scaling laws offer a framework for predicting how much HEP models benefit from systematic increases in capacity and training data.

## Slide 43
Missing pT: negative vector sum of momenta of all reconstructed objects and a “soft term” from isolated tracks / clusters
Precision objects enable precision measurements — Missing pT
Precise missing pT reconstruction allows to detect invisible particles
arXiv:2107.13021
Monojet candidate event

## Slide 44
Cross section, backgrounds, likelihood fits, systematic effects
A H →𝛾𝛾 candidate event in CMS

## Slide 45
Cross section is obtained by subtracting backgrounds, correcting detector effects, and normalising to integrated luminosity
From event counts to a physical cross section
Observed
data
N obs
Subtract
background
− N bkg
Correct detector
response
÷ C
Divide by
exposure
÷ Lint
Fiducial
cross section
Measurement recipe
— efficiency & resolution correction (from MC)
— acceptance factor (from MC / theory)
— branching fraction (from theory)
σfid
Fiducial cross sections minimise extrapolation and are usually the most reusable result
Statistics: finite event counts
Background: normalisation and shape
Detector: calibration, efficiency, migrations
Luminosity: exposure scale
Signal model: acceptance and unfolding dependence
Uncertainty budget
Differential results: invert a response matrix; regularisation trades variance against bias

## Slide 46
All LHC analyses must estimate backgrounds and their uncertainties: sensitivity of a BSM search often governed by the uncertainty on the background prediction — not only by its expected yield
Backgrounds are constrained with data whenever possible
CONTROL REGION
VALIDATION
SIGNAL REGION
more signal-like →
events / bin
Example of sensitive regions in high-tail BSM search:
Simulation / theory: predicts normalisation and shape; limited by modelling and MC statistics in extreme tails
Control-region fit: data constrain background normalisations; simulation transfers them to signal region
Data-driven extrapolation: ABCD, sidebands or fake-factor methods reduce dependence on absolute simulation
3 complementary strategies:
ABCD example:
C
x fail y pass
A
D
B
x fail y fail
x pass y pass
x pass y fail
x more signal-like →
y more signal-like →
corrects residual correlations; subtract non-target backgrounds and test signal leakage
Fit the control region, test the extrapolation in validation regions, then predict the signal region
Background yields and uncertainties are fitted, correlated quantities — not a fixed subtraction

## Slide 47
Profile likelihood fit
Estimate the parameter of interest μ while the data constrain backgrounds and systematic uncertainties through nuisance parameters θ
1
Build the likelihood
Simple counting experiment
μ signal strength
parameter of interest
θ background scale
nuisance parameter
n observed events | S expected signal | B nominal background
G(θ; 1, σθ) is an auxiliary constraint from calibration or control data
2
Profile the nuisance parameters
For each tested μ, choose the θ values that maximise L
Fix μ
Maximise over θ
Lₚ(μ)
θ̂(μ): conditional best fit | (μ̂, θ̂): global best fit | q(μ): test statistic
In a realistic LHC analysis
Combined model
Product over bins, regions, channels, categories and processes
Control regions
Constrain background yields and nuisance parameters directly from data
Correlations
Shared nuisance parameters propagate systematic effects across the fit
The profile-likelihood ratio provides confidence intervals, significances and upper limits

## Slide 48
Profile likelihood fit
In a realistic LHC analysis
Combined model
Product over bins, regions, channels, categories and processes
Control regions
Constrain background yields and nuisance parameters directly from data
Correlations
Shared nuisance parameters propagate systematic effects across the fit
The profile-likelihood ratio provides confidence intervals, significances and upper limits
  ATLAS likelihood model used in fit

## Slide 49
Systematic uncertainties
They quantify how imperfect knowledge can impact the inferred physics result
Statistical: finite event counts; usually decreases as
Systematic: imperfect knowledge; may persist, but can be constrained by data (introducing a component)
Common sources
Treatment in a robust analysis
Detector response and calibration
E and pT scales, efficiencies, resolutions, alignment
Backgrounds and event modelling
Normalisations, shapes, data-driven transfer factors
Theory and simulation
Missing higher orders, PDFs, parton shower, hadronization
Data-taking conditions
Luminosity, pileup, time dependent conditions, detector stability
1
Identify and parameterise
Represent each relevant effect by a nuisance parameter θᵢ
2
Constrain with data
Use calibrations, auxiliary measurements and control regions
3
Propagate shifts and correlations
Carry rate and shape variations consistently through the likelihood
4
Validate and report
Perform closure and stress tests; rank impacts and document assumptions
Goal: calibrated coverage, transparent assumptions, correct correlations — right, not over or under-conservative
Theory uncertainties: state the variation prescription explicitly; a Gaussian “1σ” interpretation is not always justified

## Slide 50
Summary of today’s lecture
  A large facility, such as the LHC and its injectors, offers a diverse research programme, flagship experiments and much more
  The experimental environment of a hadron collider is especially demanding for detectors, event reconstruction, and their simulation. It is also a driver for innovation
  The groundwork invested into these areas is key for the successful physics exploitation
  Physics analysis relies on sophisticated statistical methods correlating as much as possible all contributions and their uncertainties
  There seems to be no limit to further improvement!

## Slide 51
Extra slides

## Slide 52
Proton–proton collisions
Proton–proton collisions correspond to a convolution of Parton Density Functions (PDF) with parton–parton scattering matrix element
Parton distribution functions
Represent structure of proton, extracted using experimental data and QCD properties

## Slide 53
Proton–proton collisions
Proton–proton collisions correspond to a convolution of Parton Density Functions (PDF) with parton–parton scattering matrix element
Hard scatter parton cross section
Higher order pQCD correction; accompanying radiation, jets, …
p
p
Underlying event
X = jets, W, Z, top, Higgs, ?, …
Parton distribution functions
Gluon and sea-quark PDFs rise dramatically towards low x:
Higher cross section at higher proton−proton collision energy
More luminosity also leads to higher achievable energy
Low-x regime (eg, Higgs production) dominated by gluon−gluon collisions: “gluon collider”
CM energy-squared of parton collision:

## Slide 54
LHCb’s dipole magnet at 2018 detector opening

## Slide 55
LHCb’s dipole magnet at 2018 detector opening
Refurbished Time Projection Chamber (TPC) lowered into the ALICE cavern and installed in the experiment during LS2

## Slide 56
Particle detector basics — Data sizes
Reference

## Slide 57
Detector simulation and generative ML
Detector simulation is traditionally performed by Geant4 (G4)
Geant4 simulates particle transport by stepping particles through the detector geometry, applying stochastic physics processes at each step, and recording energy deposits in sensitive volumes. These “hits” are then digitized into detector-like signals, so experiments can run reconstruction on them as if they were real data
arXiv:2404.06335
Despite significant improvements, the detailed simulation necessarily makes G4 slow
CPU dominated by calorimeters
≈ 120 s/ev*
≈ 150 s/ev*
≈ 210 s/ev*
*assuming 15 HS23 / core
Fast simulation using generative ML algorithm trained with G4
ATLAS developed a generative NN (FastCaloGAN) to simulate EM and HAD showers leading to an overall speed-up by 5 compared to G4
ATLAS simulation of a Higgs boson event
arXiv:2109.02551, arXiv:2404.06335

## Slide 58
Precision objects enable precision measurements — Tracking
Charged particles deflection in magnetic field
Lorentz force  to B-field and to particle direction
Particle trajectory projected onto plane  to B-field is circle with radius:
  ➠ For = 10 … 1000 GeV → = 17 … 1700 m (cf, ~ 1 m)
Obtain r and pT from measurement of sagitta
Track fitting in LHC environment challenging
Several thousand tracks per proton-bunch collision, up to 20k tracks for a central PbPb collision
Must handle ambiguities, hit overlaps, multiple scattering, bremsstrahlung, multiple vertices, …
Track fitters take Gaussian noise (e.g., Kalman filter) and non-Gaussian noise (e.g., Gaussian sum filter) into account
Fitter must be fast, used in high-level trigger
(if ) ➠ and
Multiple scattering (diffusion) of light passing through a wetter and wetter windscreen (left to right)

## Slide 59
Lorentz boost and jet substructure
Opening angle ,
At pT ≫ m, the hadronic decay products of W, Z, H and top become collimated and may merge into one reconstructed jet
Two-body, symmetric decay; pT ≫ m
arXiv:2407.20127
ParticleNet: constituent based GNN, EFN: Energy-Flow Network, DeepSet structure, lower weights for low-pT constituents, PFN: Particle Flow Network, as EFN, but without pT weights, ResNet50: imaging CNN, DNN: densely connected NN with zero padding for variable structure, hlDNN: as DNN but with 15 high-level variables (subjettiness, splitting scales, thrust, etc)
Modelling uncertainty of constituent-based (except hlDNN) top taggers versus background rejection. Another prominent field of GNN applications in HEP
Detailed detector simulation is required to evaluate these taggers
Area of creative and powerful ML applications

## Slide 60
Precision objects enable precision measurements — Jet
Leading order:
No parton emission
One real emission (NLO):
Propagator:
Explodes if (soft divergence) or (collinear divergence)
Differential cross section:
Jets are experimentally defined using an infrared- and collinear-safe R-dependent algorithm, usually anti-kt at the LHC
Double-log enhanced real-emission probability
Jet: soft and collinear QCD radiation generates a parton shower, which hadronizes through colour confinement and is reconstructed as one or more jets